## Cover Page
HVAC & HEALTHY BUILDINGS APPLICATION
Rebate applications due no later than November 30, 2026
Dakota Electric Association
Application Check List |  |  |  | 4300 220th Street West
Farmington, Minnesota 55024
651-463-6212
Business Member Information
Business Name
Installation Address
City, State, Zip
Contact Name
Email
Phone Number
Dakota Elec. Premise ID#
Rebate Recipient
To release the rebate incentive check to an alternate party other than the cooperative business member, the member must specify an alternative mailing address and authorize with a signature below.
Please Send Rebate to (check one):
Recipient's Business Name
Attention:
Mailing Address
City, State, Zip
The undersigned does hereby certify that the undersigned is solely responsible for the accuracy of the information contained in this application. All rules of the program have been followed and the installation is complete. The undersigned acknowledges that nothing contained in the application imposes any liability on the cooperative for the work performed and information presented by the member, member's engineer, contractor, or vendor. The undersigned also authorized payment of incentive directly to the specified rebate recipient.
Member Signature |  |  | Date
Total Rebate | 0
Rep: ____________________________ |  | PLEASE RETURN CHECK TO CHERYL
Department: 210 | Activity: 4655 | Account: 908.141014
Signature: _______________________ |  | Date: __________
Business Member
Alternative Business Recipient
Completed rebate application with signature
Itemized project invoices (labor & materials)
Equipment specifications
Send to: rebates@dakotaelectric.com

## Rules & Information
HVAC RULES & INFORMATION | HVAC RULES & INFORMATION
(continued)
Warranty Information | Chillers, Cooling Towers, & Air Handler VAVs
Rebate qualifications do not imply any representation or warranty of such equipment, design or installation by the cooperative. The cooperative shall not be responsible or liable for any personal injury or property damage caused by this equipment. The cooperative does not guarantee that a specific level of energy or cost savings will result from the implementation of energy conservation measures or the use of products funded under this program. In no event shall the cooperative be liable for any incidental or consequential damages. | Chillers
1. No rebates will be provided for back-up systems. Back-up systems are defined as a separate chiller that is required only when a primary chiller fails.
2. The basis for the rebate efficiency level will be design conditions and chiller efficiency data as contained in the manufacturer specifications.
3. Use the Full-Load Efficiency for the base rebate on centrifugal chillers ≥ 150 tons.
General Program Rules | 4. Cooling Tower VFDs shall not be combined with the motors and drives program.
1. Installation must be complete before application is submitted and funds are issued.
2. Members and vendors must submit itemized equipment invoices, rebate application, and manufacturer equipment specifications. To ensure that the equipment installed meets the cooperative's performance standards, these invoices must itemize labor charges, quantity and price of the equipment installed, as well as information regarding the manufacturer and model numbers for all equipment included in the rebate. | Healthy Buildings
Economizers
◦ Enthalpy and CO₂ controls are required to qualify for this rebate.
3. The cooperative reserves the right to conduct random inspections of installations. | Demand Control Ventilation (DCV)
4. Rebates must be applied for within 12 months of invoice date. | ◦applies to the retrofit of existing constant volume equipment or optional addition to new or replacement equipment.
5. Project must comply with all program specific rules and qualifications.
6. The member is responsible for checking with the cooperative to determine funding availability and to verify program parameters. | Advanced Rooftop Controller (ARC)
◦ rebate cannot be combined with DCV or supply-fan VSD rebate
7. The maximum rebate amount shall be the lesser of 50 percent of the project cost or $100,000. | ◦ New or replacement RTUs with an economizer can be combined with the ARCrebate
8. Qualifying members must apply for rebates no later than November 30, 2026.
Ultraviolet Germicidal Irradiiation (UVGI) Lighting
RTUs, Split Systems, Condensers, & ASHPs | ◦ equipment specifications should indicate UV-C spectrum lighting equipment.
◦ Only new central air conditioning units and remote condensing unit retrofits qualify. Rebuilds do not qualify.
◦ If the efficiency rating is in EER and the application asks for SEER, SEER = EER x .875
Split Systems
◦ Both the condensing unit and the A-coil must be purchased to qualify for this rebate.
PTAC & Ductless Mini-Splits
◦ Only new equipment units qualify. Rebuilds do not qualify.
Ground-Source Heat Pump (Geothermal)
◦ New installations with a new loop field and replacement units with existing loop fields qualify.
◦ Only closed loop systems qualify.

## Healthy Building
HEALTHY BUILDING
Economizers, DCV, ARC, & UVGI
Economizers |  |  |  | Enthalpy & CO2 controlled |  |  | Can be applied for as a Custom Rebate
Demand Control Ventilation (DCV)
Advanced Rooftop Controller (ARC)
Ultraviolet Germicidal Irradiiation (UVGI) Lighting
Economizers
Manufacturer | Ton | Quantity | Cooling Capacity (Btu/h) | Heating Capacity (Btu/h) | SEER2 | Air Volume |  | Rebate
0
0
0
*Must have both Enthalpy and CO2 controls to qualify
Private Business | under 50 kW peak | [6 empty] | 0
Public Facility | 50-150 kW peak |  |  |  |  | Project Cost
| over 150 kW peak |  |  |  |  | Total Rebate |  | 0

## DX Units, ASHP
DX Units
RTU, SPLIT SYSTEMS, CONDENSORS, ASHP
Minimum Qualifying Criteria
Equipment Type |  | Unit Tons | Rebate $/ton
DX Units
Rooftop Units (RTU) |  |  |  | Heating Section Type | SEER2 Minimum | EER2 Minimum | EER Minmimum | IEER Minimum
≤ 65,000 Btu/h |  | < 5.4 | 100 | All | 15.2 | 11.5
≥ 65,000 - < 135,000 |  | 5.4 - 11.3 | 100 | Electric Resistance (or none) |  |  | 12.7 | 18
|  |  |  | All Other |  |  | 12.5 | 17.8
≤ 135,000 - < 240,000 |  | 11.4 - 19.9 |  | Electric Resistance (or none) |  |  | 12.2 | 17
|  |  |  | All Other |  |  | 12 | 16.8
≥ 240,000 |  | ≥ 20.0 |  | Electric Resistance (or none) |  |  | 9.5 | 10.6
|  |  |  | All Other |  |  | 9.3 | 10.4
Split Systems & Condensers |  |  |  | Heating Section Type | SEER2 Minimum | EER2 Minimum | EER Minmimum | IEER Minimum
≤ 65,000 Btu/h |  | < 5.4 | 100 | All | 15.2 | 12
≥ 65,000 - < 135,000 |  | 5.4 - 11.3 | 100 | Electric Resistance (or none) |  |  | 12.7 | 18
|  |  |  | All Other |  |  | 12.5 | 17.8
≤ 135,000 - < 240,000 |  | 11.4 - 19.9 |  | Electric Resistance (or none) |  |  | 12.2 | 17
|  |  |  | All Other |  |  | 12 | 16.8
≥ 240,000 |  | ≥ 20.0 |  | Electric Resistance (or none) |  |  | 9.5 | 10.6
|  |  |  | All Other |  |  | 9.3 | 10.4
Air Source Heat Pumps |  |  |  |  | SEER2 Minimum | EER2 Minimum | EER Minmimum | IEER Minimum | HSPF2 | COP@47 deg F
≤ 65,000 Btu/h |  | < 5.4 | 100 |  | 15.2 | 10.6 |  |  | 7.2
≥ 65,000 - < 135,000 |  | 5.5 - 11.3 |  |  |  |  | 10.8 | 14.6 |  | 3.5
≥ 135,000 - ≤ 240,000 |  | 11.4 - 19.9 |  |  |  |  | 10.4 | 13.8 |  | 3.4
≥ 240,000 |  | ≥ 20.0 |  |  |  |  | 9.3 | 12.8 |  | 3.3
DX Units < 65,000 Btu/h (RTUs, Split Systems, Condensors)
Manufacturer | Ton |  |  |  | SEER2 | EER2 |  | Quantity |  | Rebate
0
0
0
DX Units ≥ 65,000 Btu/h (RTUs, Split Systems, Condensors)
Manufacturer | Ton |  |  |  | EER | IEER |  | Quantity |  | Rebate
0
0
0
Air Source Heat Pumps < 65,000 Btu/h | [12 empty] | 10.8 | 12 | 13 | 13
Manufacturer | Ton |  |  |  | SEER2 | EER2 | HSPF2 | Quantity |  | Rebate
0
0
0
Air Source Heat Pumps ≥ 65,000 Btu/h
Manufacturer | Ton |  |  |  | EER | IEER | COP@47 deg F | Quantity |  | Rebate
0
[10 empty] | 0 |  | fee
0
[13 empty] | 10.7 | 13
10.2
9.6
[10 empty] | 0 | No
[9 empty] | Project Cost |  | Yes
[9 empty] | Total Rebate | 0

## Cooling calcs (hidden)
[9 empty] | Application # |  |  | #REF!
Customer | #REF!
Co-op | #REF!
Year | 2014
Cooling Energy Savings
kW - Tons * kW/Ton |  | kW/Ton = 12/EER or SEER
For RTU's & Split Systems | Units | Tons/Unit | SEER or EER - Installed | kW/Ton | SEER or EER -Required minus 2 | kW/Ton | Cooling FLH/Yr | kW Savings | Annual kWh Savings | Heating FLH/Yr | Project Life | Lifetime Energy Savings
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
11.4 - 19.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
11.4 - 19.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
11.4 - 19.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
11.4 - 19.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
20.0 - 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
20.0 - 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
20.0 - 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
20.0 - 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
> 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
> 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
> 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
> 63.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 1000 | 15 | #REF!
[7 empty] | RTU/Split System Total Energy Savings | #REF! | #REF! |  |  | #REF!
For ASHP | Units | Tons/Unit | SEER or EER - Installed | kW/Ton | SEER or EER -Required minus 2 | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  | Project Life | Lifetime Energy Savings | heating Savings | ASHP operatign hrs yr. | Assumed avg. C.O.P.
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF! |  | 1000 | 2.5
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
< 5.4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
5.5 - 11.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
11.4 - 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
11.4 - 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
11.4 - 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
11.4 - 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! |  | 15 | #REF!
[7 empty] | ASHP System Total Energy Savings | #REF! | #REF! |  |  | #REF!
For Economizers | Units | Tons/Unit | SEER or EER | kW/Ton |  |  | FLH/Yr | kW Savings | Annual kWh Savings |  | Project Life | Lifetime Energy Savings
| #REF! | #REF! | 10.5 | 1.1429 |  |  | 866 | #REF! | #REF! |  | 15 | #REF!
| #REF! | #REF! | 10.5 | 1.1429 |  |  | 866 | #REF! | #REF! |  | 15 | #REF!
| #REF! | #REF! | 10.5 | 1.1429 |  |  | 866 | #REF! | #REF! |  | 15 | #REF!
| #REF! | #REF! | 10.5 | 1.1429 |  |  | 866 | #REF! | #REF! |  | 15 | #REF!
[8 empty] | #REF! | #REF! |  |  | #REF!
[7 empty] | Economizer Total Energy Savings | #REF! | #REF! |  |  | #REF!
Chiller | Units | Tons/Unit | kW/Ton - Installed | FLH/Yr | Max kW/Ton | kW Savings | Annual kWh Savings | Project Life | Lifetime Energy Savings
< 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
< 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
≥ 150 Tons | 0 | 0 | 0 | 866 | 0 | 0 | 0 | 15 | 0
[5 empty] | Chiller Total Energy Savings | 0 | 0 |  | 0
[8 empty] | Total kWh Savings |  |  | #REF!
Rebates must comply with all program specific rules and qualifications. | [7 empty] | Total kW Savings |  |  | #REF!
Minimum Qualifying Criteria |  |  |  |  | Rebates | [5 empty] | #REF!
Equipment Type |  | Unit Tons | EER | IPLV | Base Rebate $/ton | Increm - $/ton per 0.1 EER above base
Packaged Terminal Air Conditioners (PTAC)
with Elec. Resis. Htg |  |  | 10 |  | 9.75 | 1.65
with Heat Pump Htg |  |  | 10 |  | 9.75 | 3.25
Geothermal Heat Pumps |  |  |  | COP
Closed Loop |  |  | 14.1 | 3.3 | 18 | 5
Open Loop |  |  | 16.2 | 3.6 | 18 | 5
Direct Exchange |  |  | 15 | 3.5 | 18 | 5
Rooftop Units (RTU)
< 65,000 Btuh |  | <5.4 | 11 | SEER | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 | 10.6 | 18 | 5
135,000 < X < 240,000 |  | 11.4 - 19.9 | 9.7 | 9.9 | 18 | 5
240,000 < X < 760,000 |  | 20.0 - 63.3 | 9.5 | 9.7 | 18 | 5
> 760,000 |  | > 63.3 | 9.2 | 9.4 | 18 | 5
Split Systems
< 65,000 Btuh |  | < 5.4 | 12.00(SEER) |  | 18 | 5
Condensers
< 65,000 Btuh |  | < 5.4 | 12 |  | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  | 18 | 5
> 135,000 |  | > 11.4 | 10.1 |  | 18 | 5
Chillers |  |  | Full Load Efficiency kW/ton | Non-Standard Part Load Value Efficiency kW/ton | Base Rebate $/ton | Incremental rebate, $/ton per 0.010 kW/ton below base
< 150 tons (Centrifugal or Screw) |  |  | 0.65 | - | 26 | 6.5
> 150 tons (Centrifugal or Screw)* |  |  | 0.6 | - | 26 | 6.5
> 150 tons (Centrifugal only)* |  |  | 0.6 | 0.56 | 22.75 | 2.6

## PTAC & Ductless Mini-Split
PTAC & DUCTLESS MINI-SPLIT
Minimum Qualifying Criteria
|  | SEER |  | $/ton
Packaged Terminal Air Conditioners (PTAC) |  |  |  | 60
Packaged Terminal Heat Pumps |  | Size/Cooling Capacity* | Min Req EER | Min Req COP
PTHP, Standard Size |  | <7000 | 11.9 | 3.3 | 80
(used for New Construction) |  | 9000 | 11.3 | 3.2
|  | 12000 | 10.4 | 3.1
|  | >15000 | 9.5 | 2.9
PTHP, Non-Standard Size |  | <7000 | 9.3 | 2.7 | 80
(used for Replacements** Only) |  | 9000 | 8.9 | 2.7
|  | 12000 | 8.2 | 2.6
|  | >15000 | 7.6 | 2.5
ENERGY STAR Ductless Mini Splits |  |  |  | 100
*Cap = cooling capacity in Btu/h at 95 deg F, outdoor dry-bulb temperature
**Replacement unit shall be factory labeled as follows: "manufactured for replacement applications only; not to be installed in new construction projects". Replacement efficiencies apply only to units with existing sleeves less than 16 inches (406mm) in height and less than 42 incehs (1067mm) in width.
PTAC
Manufacturer | Model | # of Units | Tons/unit | SEER |  |  | Rebate
0
0
PTHP
Manufacturer | Model | # of Units | Tons/unit | SEER |  |  | Rebate
0
0
Ductless Mini-Split
Manufacturer | Model | # of Units | Tons/unit | SEER | EER | HSPF (ASHPs Only | Rebate
0
0
0
Project Cost
|  |  |  | Total Rebate |  |  | 0

## GSHP
GROUND SOURCE HEAT PUMP
Minimum Qualifying Criteria
Equipment Type
Ground Source Heat Pumps |  |  | Rebate $/ton
New |  |  | 400
Retrofit |  |  | 200
Ground Source Heat Pump - New
Manufacturer | Model Number | EER | COP | # Units | Tons/unit | Master Installer Used?* | Rebate
[6 empty] | No | 0
[6 empty] | No | 0
[6 empty] | No | 0
Ground Source Heat Pump - Retrofit
Manufacturer | Model Number | EER | COP | # Units | Tons/unit | Master Installer Used?* | Rebate
[6 empty] | No | 0
[6 empty] | No | 0
[6 empty] | No | 0
Certified Master Installer (if applicable)
[6 empty] | Total Tonnage | Rebate
0
Installer Company Name
Certification number
*Additional $100/ton if a Certified IGSHPA Master Installer is used
Project Cost
[5 empty] | Total Rebate |  | 0

## Chiller
CHILLERS
Minimum Qualifying Criteria
Equipment Type Unit Tons |  | Path A* |  | Path B** |  | Base Rebate $/ton
Air Cooled Chillers |  | FLV_AHRI (kW/ton) | IPLV_AHRI (kW/ton) | FLV_AHRI (kW/ton) | IPLV_AHRI (kW/ton) | 20
< 150 Tons |  | 10.1 | 13.7 | 9.7 | 15.8
|  | EER Btu/Wh | EER Btu/Wh | EER Btu/Wh | EER Btu/Wh
≥ 150 Tons |  | 10.1 | 14 | 9.7 | 16.1
|  | EER Btu/Wh | EER Btu/Wh | EER Btu/Wh | EER Btu/Wh
Water Cooled Scroll or Screw Chillers
<75 tons |  | 0.75 | 0.6 | 0.78 | 0.5 | 20
≥75 and <150 tons |  | 0.72 | 0.56 | 0.75 | 0.49
≥150 and <300 tons |  | 0.66 | 0.54 | 0.68 | 0.44
≥ 300 tons |  | 0.61 | 0.52 | 0.625 | 0.41
Water Cooled Centrifugal Chillers
< 150 tons |  | 0.61 | 0.55 | 0.695 | 0.44
≥ 150 and < 300 tons |  | 0.61 | 0.55 | 0.635 | 0.4
≥ 300 and < 600 tons |  | 0.56 | 0.52 | 0.595 | 0.39
≥ 600 tons |  | 0.56 | 0.5 | 0.585 | 0.38
FLV - Fully Loaded Value
*Path A is for traditional applications and where the intended applications are expected to have significant operating times at full load conditions, typically a non-VFD controlled unit.
**Path B chillers must be equipped with demadn limiting controls or VFD controlled units
FLV_AHRI = 12 / EER and IPLV_AHRI - 12 / SEER
Air Cooled Chiller
Manufacturer | Model | Qty | Tons/Unit | FLV_AHRI | IPLV_AHRI |  |  | Rebate
0
0
Water Cooled Scroll or Screw Chiller
Manufacturer | Model | Qty | Tons/Unit | FLV_AHRI | IPLV_AHRI |  |  | Rebate
0
0
Water Cooled Centrifugal Chiller
Manufacturer | Model | Qty | Tons/Unit | FLV_AHRI | IPLV_AHRI |  |  | Rebate
0
0
0
Project Cost
[7 empty] | Total Rebate | 0

## Chiller Savings Sheet (hidden)
Customer: | [8 empty] | Application #:
Co-op: | (COOPERATIVE), Address, Phone
Year: | 2014
Cooling Energy Savings
kW - Tons * kW/Ton |  | kW/Ton = 12/EER or SEER
Air cooled chillers | Units | Tons/Unit | SEER or EER - Installed | kW/Ton | SEER or EER -Required | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings | Project Life | Lifetime Energy Savings
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 15 | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | 15 | #REF!
| 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 15 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 15 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 866 | 0 | 0 | 15 | 0
[8 empty] | #REF! | #REF! |  | #REF!
[8 empty] | 0 | 0 |  | 0
[7 empty] | air cooled chillerSystem Total Energy Savings | #REF! | #REF! |  | #REF!
[8 empty] | 0 | 0 |  | 0
[7 empty] | PTAC's Total Energy Savings | 0 | 0 |  | 0
Chiller | Units | Tons/Unit | kW/Ton - Installed | FLH/Yr | Max kW/Ton | kW Savings | Annual kWh Savings | Project Life | Lifetime Energy Savings
< 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
< 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
≥ 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
≥ 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
< 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
< 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
≥ 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
≥ 150 Tons | #REF! | #REF! | #REF! | 866 | #REF! | #REF! | #REF! | 15 | #REF!
[5 empty] | water Chiller Total Energy Savings | #REF! | #REF! |  | #REF!
[5 empty] | VAV's | Number of Units |  | CFM | Savings
[6 empty] | #REF! |  | #REF! | #REF!
[6 empty] | #REF! |  | #REF! | #REF!
0
0
0
0
#REF!
[8 empty] | Total kWh Savings | #REF!
Minimum Qualifying Criteria |  |  |  |  | Rebates |  |  | Total kW Savings | #REF!
Equipment Type |  | Unit Tons | EER | IPLV | Base Rebate $/ton | Increm - $/ton per 0.1 EER above base
Packaged Terminal Air Conditioners (PTAC)
with Elec. Resis. Htg |  |  | 10 |  | 9.75 | 1.65
with Heat Pump Htg |  |  | 10 |  | 9.75 | 3.25
Geothermal Heat Pumps |  |  |  | COP
Closed Loop |  |  | 14.1 | 3.3 | 18 | 5
Open Loop |  |  | 16.2 | 3.6 | 18 | 5
Direct Exchange |  |  | 15 | 3.5 | 18 | 5
Rooftop Units (RTU)
< 65,000 Btuh |  | <5.4 | 11 | SEER | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 | 10.6 | 18 | 5
135,000 < X < 240,000 |  | 11.4 - 19.9 | 9.7 | 9.9 | 18 | 5
240,000 < X < 760,000 |  | 20.0 - 63.3 | 9.5 | 9.7 | 18 | 5
> 760,000 |  | > 63.3 | 9.2 | 9.4 | 18 | 5
Split Systems
< 65,000 Btuh |  | < 5.4 | 12.00(SEER) |  | 18 | 5
Condensers
< 65,000 Btuh |  | < 5.4 | 12 |  | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  | 18 | 5
> 135,000 |  | > 11.4 | 10.1 |  | 18 | 5
Chillers |  |  | Full Load Efficiency kW/ton | Non-Standard Part Load Value Efficiency kW/ton | Base Rebate $/ton | Incremental rebate, $/ton per 0.010 kW/ton below base
< 150 tons (Centrifugal or Screw) |  |  | 0.65 | - | 26 | 6.5
> 150 tons (Centrifugal or Screw)* |  |  | 0.6 | - | 26 | 6.5
> 150 tons (Centrifugal only)* |  |  | 0.6 | 0.56 | 22.75 | 2.6

## PTAC Savings Sheet (2) (hidden)
Application #
Packaged Terminal Air Conditioner / Heat Pump (PTAC/HP)
Mini-Split & Water-Source Heat Pumps
(COOPERATIVE), Address, Phone
Business Name:
kW - Tons * kW/Ton |  |  | kW/Ton = 12/EER or SEER
For PTAC's | Units | Tons / Unit | SEER or EER - Installed |  | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  |  | Project Life | Lifetime Energy Savings
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 8 | 1.5 | 866 | #REF! | #REF! |  |  | 15 | #REF!
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 8 | 1.5 | 866 | #REF! | #REF! |  |  | 15 | #REF!
[9 empty] | #REF! | #REF! |  |  |  | #REF!
[8 empty] | PTAC's Total Energy Savings | #REF! | #REF! |  |  |  | #REF!
For PTACSHP's | Units | Tons / Unit | SEER or EER - Installed | C.O.P. | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings Cooling | Annual kWh Savings heating | Total savings | Project Life | Lifetime Energy Savings
< 5.1 | #REF! | #REF! | #REF! | #REF! | #REF! | 8 | 1.5 | 866 | #REF! | #REF! | #REF! | #REF! | 15 | #REF!
< 5.1 | #REF! | #REF! | #REF! | #REF! | #REF! | 8 | 1.5 | 866 | #REF! | #REF! | #REF! | #REF! | 15 | #REF!
[9 empty] | #REF! | #REF! |  |  |  | #REF!
[8 empty] | PTAC's Total Energy Savings | #REF! | #REF! | #REF! | #REF! |  | #REF!
minisplits ac | Units | Tons / Unit | SEER or EER - Installed |  | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  |  | Project Life | Lifetime Energy Savings
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 12 | 1 | 866 | #REF! | #REF! |  |  | 15 | #REF!
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 12 | 1 | 866 | #REF! | #REF! |  |  | 15 | #REF!
[9 empty] | #REF! | #REF! |  |  |  | #REF!
[8 empty] | Total Energy Savings | #REF! | #REF! |  |  |  | #REF!
minisplit ashp | Units | Tons / Unit | SEER or EER - Installed | C.O.P. | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings Cooling | Annual kWh Savings heating | Total savings Residentail base | Project Life | Lifetime Energy Savings
< 5.1 | #REF! | #REF! | #REF! | #REF! | #REF! |  | 0 | 866 | #REF! | #REF! | #REF! | #REF! | 15 | #REF!
< 5.1 | #REF! | #REF! | #REF! | #REF! | #REF! |  | 0 | 866 | #REF! | #REF! | #REF! | #REF! | 15 | #REF!
[9 empty] | #REF! | #REF! |  |  |  | #REF!
[8 empty] | Total Energy Savings | #REF! | #REF! | #REF! | #REF! |  | #REF!
For water source HP's | Units | Tons / Unit | SEER or EER - Installed |  | kW/Ton | SEER or EER -base | kW/Ton | FLH/Yr | kW Savings | Annual kWh Savings |  |  | Project Life | Lifetime Energy Savings
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 10 | 1.2 | 866 | #REF! | #REF! |  |  | 15 | #REF!
< 5.1 | #REF! | #REF! | #REF! |  | #REF! | 10 | 1.2 | 866 | #REF! | #REF! |  |  | 15 | #REF!
[9 empty] | #REF! | #REF! |  |  |  | #REF!
[8 empty] | Total Energy Savings | #REF! | #REF! |  |  |  | #REF!
Rebates must comply with all program specific rules and qualifications.
Minimum Qualifying Criteria | [5 empty] | Rebates
Equipment Type |  | Unit Tons | EER |  | IPLV | Base Rebate $/ton | Increm - $/ton per 0.1 EER above base | Total savings kWh |  | #REF!
Packaged Terminal Air Conditioners (PTAC) | [7 empty] | Total kW saved |  | #REF!
with Elec. Resis. Htg |  |  | 10 |  |  | 10 | 1.75
with Heat Pump Htg |  |  | 10 |  |  | 10 | 3.5
Geothermal Heat Pumps |  |  |  |  | COP
Closed Loop |  |  | 14.1 |  | 3.3 | 18 | 5
Open Loop |  |  | 16.2 |  | 3.6 | 18 | 5
Direct Exchange |  |  | 15 |  | 3.5 | 18 | 5
Rooftop Units (RTU)
< 65,000 Btuh |  | <5.4 | 11 |  | SEER | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  | 10.6 | 18 | 5
135,000 < X < 240,000 |  | 11.4 - 19.9 | 9.7 |  | 9.9 | 18 | 5
240,000 < X < 760,000 |  | 20.0 - 63.3 | 9.5 |  | 9.7 | 18 | 5
> 760,000 |  | > 63.3 | 9.2 |  | 9.4 | 18 | 5
Split Systems
< 65,000 Btuh |  | < 5.4 | 12.00(SEER) |  |  | 18 | 5
Condensers
< 65,000 Btuh |  | < 5.4 | 12 |  |  | 18 | 5
65,000 < X < 135,000 |  | 5.5 - 11.3 | 10.3 |  |  | 18 | 5
> 135,000 |  | > 11.4 | 10.1 |  |  | 18 | 5
Chillers |  |  | Full Load Efficiency kW/ton |  | Non-Standard Part Load Value Efficiency kW/ton | Base Rebate $/ton | Incremental rebate, $/ton per 0.010 kW/ton below base
< 150 tons (Centrifugal or Screw) |  |  | 0.65 |  | - | 26 | 6.5
> 150 tons (Centrifugal or Screw)* |  |  | 0.6 |  | - | 26 | 6.5
> 150 tons (Centrifugal only)* |  |  | 0.6 |  | 0.56 | 22.75 | 2.6

## Payment Request (hidden)
[7 empty] | Application # | #REF!
#REF!
#REF!
#REF!
Business Name |  | #REF!
Contact Name |  | #REF! |  |  | Phone | #REF!
Account Number |  | #REF! |  | Email Address |  |  | #REF!
Billing Address |  | #REF!
|  | #REF! |  |  | #REF! |  |  | #REF!
|  | City |  |  | State |  |  | Zip
Vendor Information
Vendor Name |  | #REF!
Mailing Address |  | #REF!
City, State, ZIP |  | #REF!
Contact Name |  | #REF! |  |  | Phone | #REF!
kW Savings | #REF!
kWh Savings | #REF!
Project Cost | #REF!
TOTAL REBATE | #REF!
Date
(COOPERATIVE)
Send payment request check to:
(COOPERATIVE)
Send this request and invoices to:
Rebates@GREnergy.com
Great River Energy
12300 Elm Creek Boulevard
Maple Grove, MN 55369-4718
For Great River Energy use only
Payment Date:
Amount:
GRE Approval:
Approval Date: